University of Surrey - Operations

Sustainable Principles for Construction Projects

- Follow the space hierarchy, adapt existing space, refurbish existing space, seek repurposing existing space, provide new space that meet sustainability principles.

- Building development preference should be using brownfield space before green field where possible.

- Increase energy efficiency and reduce carbon emissions supporting Net Zero Carbon emissions by 2030.

- Enhance occupant comfort, experience, and productivity.

- Drive reduced complexity and increase occupant ownership of the energy consumed by buildings.

- Drive design for long life, low environmental impact, low maintenance, flexibility, and end of life recycling.

- Reduce water consumption.

- Increase biodiversity.

- Promote and support sustainable travel modes.

Specific Items to consider within each project.

- Providing options for improving thermal insulation to different levels above and beyond building regulations.

- Propose alternative systems to gas boilers with low or zero carbon emissions.

- Provide a renewable energy supply technology assessment including solar, ASHP, GSHP and other appropriate technologies.

- Provide options for the reduction of water usage.

- Showers should be low flow.

- Utilise LED lighting and ensure communal spaces have absence detection.

- Ensure building systems are zoned and can be controlled at a flat level via BEMS.

- Where control of heating and lighting is given to users, ensure that there is absence or standby central control.

- Metering should be to flat or floor level to aid NZC activities.

- Waste production during construction should be reduced by efficient design and what waste is produced should be managed to achieve 100% diversion from landfill.

More specialist services

- Air conditioning should be connected to the University BEMs for control.

- Data Centre environments should have a low PUE (Power Usage Effectiveness), below 1.5.

- For Laboratory environments, variable volume systems should be used, with evaluation of low velocity fume cupboards. Where possible storage of chemicals should be separate from fume cupboards.

- Metering should be connected to the Building Management Systems to avoid time consuming manual meter reading.

- Where practical Low Carbon concrete should be utilised.

- Any increases in water consumption should be offset by other water reduction initiatives funded as part of the project.

Martin Wiles - Head of Sustainability – November 2023